Very Useful for Large Components which cannot be brought to inspection table like huge Crankshaft, Cylinder block and Big gears

Geomet Column for Surfcom Touch/M400

Product Code: 212

- 4 Axes movement – Up & Down, Tilt, Y-movement, 360 deg rotation

- Wrap around construction all around Teflon padded with pressure adjusting grub screw nut

- 485 mm Al. high density column, usable height 360 mm

- SS Screw rod and nut movement

- Drive Unit tilt ± 30°

- Y axis cross slide ± 12.5 – 0.01 mm, movement on precision cross roller bearings

- Rotation of Column – 360°, release and lock with fine adjustment

- Ball track movement at bottom with quick clamp lever

- Useful for mobile application for very large components